{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["Zestawienie odbiorników energii","Grupa taryfowa C11","Grupa taryfowa C12B","Grupa taryfowa C12W","Arkusz2","Arkusz3"],"not_rendered":{"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Zestawienie odbiorników energii","index":0,"n_rows":90,"n_cols":14,"rows_kept":90,"flags":["formulas_cached_only"]}
["lp","Płatnik","miejscowość","Adres","NIP","Regon","numery liczników","ppe","taryfa","zabezpieczenie","moc umowna","moc przyłaczeniowa","zuzycie energii w kWh ","czas na jaki zawarto umowe"]
[1,"Gmina Miejska Tczew","Tczew","Oświetlenie drogowe  Kusocińskiego DZ.117,84m.77,71,70/1 ","593-00-05-678",191675273,"8568949/36","PL0037330122198020","C11","6A",3,3,3966,"31.12.2016"]
[2,"Gmina Miejska Tczew","Tczew","Oświetlenie drogowe ul. Nowowiejska  ","593-00-05-678",191675273,"71990398/38","PL0037330123754363","C11","16A",7,7,null,"31.12.2016"]
[3,"Gmina Miejska Tczew","Tczew","Oświetlenie drogowe Nowosuchostrzycka","593-00-05-678",191675273,60561131,"PL0037330119177781","C11","25A",10.5,10.5,48000,"31.12.2016"]
[4,"Gmina Miejska Tczew","Tczew","Iluminacja Wiatraka","593-00-05-678",191675273,"12972056/24","PL0037330047187617","C11","16A",2.6,2.6,7200,"31.12.2016"]
[5,"Gmina Miejska Tczew","Tczew","Iluminacja Wieża Ciśnień ","593-00-05-678",191675273,"22898704/9","PL0037330047193980","C11","16A",2.5,2.5,23100,"31.12.2016"]
[6,"Gmina Miejska Tczew","Tczew","Rokicka DZ.161/3","593-00-05-678",191675273,"70663604/23","PL0037330107116843","C11","25A",12.5,12.5,50,"31.12.2016"]
[7,"Gmina Miejska Tczew","Tczew","fontanna  Hallera dz. 294/1","593-00-05-678",191675273,"70761909/24","PL0037330108881839","C11","63A",5.5,5.5,17723.5,"31.12.2016"]
[8,"Gmina Miejska Tczew","Tczew","oświetlenie i zasil imprez Polna","593-00-05-678",191675273,"0.0002268/13","PL0037330047194384","C12B","63A",25,25,17010,"31.12.2016"]
[9,"Gmina Miejska Tczew","Tczew","przepompownia Chłopska","593-00-05-678",191675273,"7714300/14","PL0037330047194485","C11","16A",3,3,31,"31.12.2016"]
[10,"Gmina Miejska Tczew","Tczew","oświetlenie Park osiedlowy Żwirki DZ.116/4 m.117/2,216","593-00-05-678",191675273,"26748701/37","PL0037330123175393","C11","6A",2.5,2.5,5400,"31.12.2016"]
[11,"Gmina Miejska Tczew","Tczew","sygnalizacja Franciszka Żwirki","593-00-05-678",191675273,"0.0134351/25","PL0037330047318969","C12W","16A",0.4,0.4,2811,"31.12.2016"]
[12,"Gmina Miejska Tczew","Tczew","oświetlenie przy garażach Jagiellońska","593-00-05-678",191675273,"21473343/10","PL0037330047194081","C11","16A",1,1,1781,"31.12.2016"]
[13,"Gmina Miejska Tczew","Tczew","Wojska Polskiego 2","593-00-05-678",191675273,"70685999/28","PL0037330107608412","C11","32A",16.5,16.5,3873,"31.12.2016"]
[14,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Nowo Kolejowa  za tunelem ","593-00-05-678",191675273,70684149,"PL0037330117306792","C11","16A",7,7,null,"31.12.2016"]
[15,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Tczew 83-102","593-00-05-678",191675273,71670394,"PL0037330117306489","C11","6A",10,10,null,"31.12.2016"]
[16,"Gmina Miejska Tczew","Tczew","Oświetlenie ulic Tczew 83-102 Tczew","593-00-05-678",191675273,71571975,"PL0037330117306186","C11","16A",10,10,null,"31.12.2016"]
[17,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy  Andersena 3","593-00-05-678",191675273,71560621,"PL0037330117305277","C11","40A",25,25,null,"31.12.2016"]
[18,"Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Rokicka 5 ","593-00-05-678",191675273,71531298,"PL0037330117304772","C11","16A",8,8,null,"31.12.2016"]
[19,"Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Kubusia Puchatka","593-00-05-678",191675273,71560772,"PL0037330117304267","C11","32A",17,17,null,"31.12.2016"]
[20,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Modrzewskiego","593-00-05-678",191675273,71558548,"PL0037330117303055","C11","16A",7,7,null,"31.12.2016"]
[21,"Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Księżniczki Dobrawy","593-00-05-678",191675273,71560427,"PL0037330117302651","C11","6A",2,2,null,"31.12.2016"]
[22,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Baczyńskiego","593-00-05-678",191675273,71560464,"PL0037330117302449","C11","6A",2,2,null,"31.12.2016"]
[23,"Gmina Miejska Tczew","Tczew","Oswietlenie Pl. Hallera 10","593-00-05-678",191675273,80778683,"PL0037330117302146","C11","16A",3,3,null,"31.12.2016"]
[24,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Kard Wyszyńskiego","593-00-05-678",191675273,71570482,"PL0037330117301843","C11","10A",6,6,null,"31.12.2016"]
[25,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Saperska","593-00-05-678",191675273,71560191,"PL0037330117301338","C11","6A",2,2,null,"31.12.2016"]
[26,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Z. Nałkowskiej ","593-00-05-678",191675273,71558538,"PL0037330117301136","C11","10A",5,5,null,"31.12.2016"]
[27,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Obrońców Westerplatte","593-00-05-678",191675273,71560466,"PL0037330117284059","C11","10A",5,5,null,"31.12.2016"]
[28,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska 126/A","593-00-05-678",191675273,71558536,"PL0037330117282645","C11","6A",1,1,null,"31.12.2016"]
[29,"Gmina Miejska Tczew","Tczew","Oświetlenie ul Samborówny","593-00-05-678",191675273,71560485,"PL0037330117282342","C11","35A",6,6,null,"31.12.2016"]
[30,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kubusia Puchatka","593-00-05-678",191675273,71572702,"PL0037330117281433","C11","6A",1,1,null,"31.12.2016"]
[31,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bartosza Glowackiego","593-00-05-678",191675273,71561155,"PL0037330117280726","C11","6A",1,1,null,"31.12.2016"]
[32,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","593-00-05-678",191675273,71560482,"PL0037330117280120","C11","6A",2,2,null,"31.12.2016"]
[33,"Gmina Miejska Tczew","Tczew","Oświetlenie Al.Zwycięstwa","593-00-05-678",191675273,71560469,"PL0037330117279110","C11","16A",10,10,null,"31.12.2016"]
[34,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu","593-00-05-678",191675273,71560764,"PL0037330117278100","C11","6A",2,2,null,"31.12.2016"]
[35,"Gmina Miejska Tczew","Tczew","Oświetlenie Park ","593-00-05-678",191675273,71560173,"PL0037330117277591","C11","35A",6,6,null,"31.12.2016"]
[36,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Mikołaja RejaSO5354","593-00-05-678",191675273,71558125,"PL0037330117277288","C11","6A",2,2,null,"31.12.2016"]
[37,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Przemysłowa","593-00-05-678",191675273,71560160,"PL0037330117275167","C11","10A",4,4,null,"31.12.2016"]
[38,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Szkoły Morskiej","593-00-05-678",191675273,71560480,"PL0037330117274662","C11","10A",6,6,null,"31.12.2016"]
[39,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna","593-00-05-678",191675273,71532240,"PL0037330117272743","C11","6A",1,1,null,"31.12.2016"]
[40,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna","593-00-05-678",191675273,71570894,"PL0037330117272541","C11","20A",12,12,null,"31.12.2016"]
[41,"Gmina Miejska Tczew","Tczew","Oświetlenie ul.Kołłątaja","593-00-05-678",191675273,71570855,"PL0037330117271329","C11","16A",10,10,null,"31.12.2016"]
[42,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Saperska","593-00-05-678",191675273,71670284,"PL0037330117271228","C11","6A",1,1,null,"31.12.2016"]
[43,"Gmina Miejska Tczew","Tczew","Oświetlenie ul.Armii Krajowej 82/A","593-00-05-678",191675273,71560476,"PL0037330117270723","C11","10A",6,6,null,"31.12.2016"]
[44,"Gmina Miejska Tczew","Tczew","Oświetlenie ulica Działkowa","593-00-05-678",191675273,71560440,"PL0037330117269107","C11","6A",1,1,null,"31.12.2016"]
[45,"Gmina Miejska Tczew","Tczew","Oświetlenie Przemysława II","593-00-05-678",191675273,71570828,"PL0037330117268400","C11","80A",5,5,null,"31.12.2016"]
[46,"Gmina Miejska Tczew","Tczew","Oświetlenie Warsztatowa","593-00-05-678",191675273,71543376,"PL0037330117267790","C11","10A",4,4,null,"31.12.2016"]
[47,"Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Ks Ściegiennego","593-00-05-678",191675273,71560437,"PL0037330117266679","C11","6A",1,1,null,"31.12.2016"]
[48,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zielona","593-00-05-678",191675273,71560699,"PL0037330117265770","C11","6A",2,2,null,"31.12.2016"]
[49,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł.Reymonta","593-00-05-678",191675273,71555242,"PL0037330117264962","C11","6A",1,1,null,"31.12.2016"]
[50,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","593-00-05-678",191675273,71560431,"PL0037330117262437","C11","80A",2,2,null,"31.12.2016"]
[51,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Wielkiego","593-00-05-678",191675273,71560525,"PL0037330117263144","C11","6A",1,1,null,"31.12.2016"]
[52,"Gmina Miejska Tczew","Tczew","Oświetlenie ul.Topolowa ","593-00-05-678",191675273,71543325,"PL0037330117260821","C11","20A",2,2,null,"31.12.2016"]
[53,"Gmina Miejska Tczew","Tczew","Oswietlenie ul. Wybudowanie","593-00-05-678",191675273,71560410,"PL0037330117260013","C11","6A",3,3,null,"31.12.2016"]
[54,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jodłowa","593-00-05-678",191675273,71560441,"PL0037330117259104","C11","6A",3,3,null,"31.12.2016"]
[55,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowowiejska","593-00-05-678",191675273,71532258,"PL0037330117258191","C11","6A",3,3,null,"31.12.2016"]
[56,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ","593-00-05-678",191675273,"90580673/2","PL0037330000217008","C11","10A",6,6,null,"31.12.2016"]
[57,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","593-00-05-678",191675273,71670314,"PL0037330117256373","C11","6A",2,2,null,"31.12.2016"]
[58,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka","593-00-05-678",191675273,71533327,"PL0037330117256070","C11","6A",1,1,null,"31.12.2016"]
[59,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jasia i Małgosi","593-00-05-678",191675273,71532223,"PL0037330117255363","C11","10A",4,4,null,"31.12.2016"]
[60,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. B. Głowackiego","593-00-05-678",191675273,71532243,"PL0037330117253242","C11","6A",1,1,null,"31.12.2016"]
[61,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska ","593-00-05-678",191675273,71481622,"PL0037330117251929","C11","10A",4,4,null,"31.12.2016"]
[62,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wąska","593-00-05-678",191675273,71532215,"PL0037330117251222","C11","10A",4,4,null,"31.12.2016"]
[63,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Świętopełka","593-00-05-678",191675273,71571898,"PL0037330117248087","C11","20A",6,6,null,"31.12.2016"]
[64,"Gmina Miejska Tczew","Tczew","Oświetlenie ul.Wodna w stacji m.5405","593-00-05-678",191675273,71558438,"PL0037330117245865","C11","10A",4,4,null,"31.12.2016"]
[65,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ","593-00-05-678",191675273,80798121,"PL0037330117244956","C11","6A",1,1,null,"31.12.2016"]
[66,"Gmina Miejska Tczew","Tczew","Oswietlenie ul. Lipowa","593-00-05-678",191675273,71560777,"PL0037330117235761","C11","20A",6,6,null,"31.12.2016"]
[67,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Stoczniowców","593-00-05-678",191675273,71560423,"PL0037330117228283","C11","20A",4,4,null,"31.12.2016"]
[68,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jurgo","593-00-05-678",191675273,71555255,"PL0037330117267285","C11","6A",1,1,null,"31.12.2016"]
[69,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malczewskiego","593-00-05-678",191675273,71560798,"PL0037330117222829","C11","10A",6,6,null,"31.12.2016"]
[70,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska Pomorska","593-00-05-678",191675273,71570850,"PL0037330117215957","C11","6A",3,3,null,"31.12.2016"]
[71,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","593-00-05-678",191675273,71532213,"PL0037330117215048","C11","6A",3,3,null,"31.12.2016"]
[72,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska ","593-00-05-678",191675273,71446950,"PL0037330117212826","C11","6A",1,1,null,"31.12.2016"]
[73,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Andersa","593-00-05-678",191675273,71532231,"PL0037330117212321","C11","6A",1,1,null,"31.12.2016"]
[74,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły","593-00-05-678",191675273,71670324,"PL0037330107256885","C11","6A",2,2,null,"31.12.2016"]
[75,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja","593-00-05-678",191675273,71560773,"PL0037330080020804","C11","6A",3,3,null,"31.12.2016"]
[76,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Prosta","593-00-05-678",191675273,71532216,"PL0037330079197819","C11","10A",5,5,null,"31.12.2016"]
[77,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kopernika ","593-00-05-678",191675273,71560456,"PL0037330076452113","C11","6A",1,1,null,"31.12.2016"]
[78,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kwiatowa ","593-00-05-678",191675273,71571973,"PL0037330076261850","C11","6A",1,1,null,"31.12.2016"]
[79,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czatkowska","593-00-05-678",191675273,71532276,"PL0037330076037033","C11","16A",9,9,null,"31.12.2016"]
[80,"Gmina Miejska Tczew","Tczew","Oświetlenie ul. Spółdzielcza 4","593-00-05-678",191675273,71446894,"PL0037330047515595","C11","6A",3,3,null,"31.12.2016"]
[81,"Gmina Miejska Tczew","Tczew","Oświetlenie Armii Krajowej","593-00-05-678",191675273,71560468,"PL0037330117274763","C11","16A",11,11,null,"31.12.2016"]
[82,"Gmina Miejska Tczew","Tczew","Oświetlenie ścieżki DK91 dz. 193/2 (ulKrólowej Bony)","593-00-05-678",191675273,"90580560/3","PL0037330000218110","C11","16A",10,10,null,"31.12.2016"]
[83,"Gmina Miejska Tczew","Tczew","Oświetlenie ścieżki DK91 od Kociewskiej doNorwida","593-00-05-678",191675273,90581363,"PL0037330000270403","C11","20A",11,11,null,"31.12.2016"]
[84,"Gmina Miejska Tczew","Tczew","Oświetlenie 30-go Stycznia do DK91 do Głowackiego","593-00-05-678",191675273,90710099,"PL0037330000283010","C11","16A",9,9,null,"31.12.2016"]
[{"$nulls":12},"ok. 1 300 000"]
[{"$nulls":3},"Adres","NIP","Regon","numery liczników","ppe","taryfa","zabezpieczenie","moc umowna","moc przyłaczeniowa","zuzycie energii w kWh ","czas na jaki zawarto umowe"]
[]
[{"$nulls":3},"Sprawdzić Al. Kociewska"]
[{"$nulls":10},"raz.1.050.000zł"]

{"sheet":"Grupa taryfowa C11","index":1,"n_rows":155,"n_cols":7,"rows_kept":155,"merged":[[154,4,154,5]],"flags":["formulas_cached_only"]}
[null,null,"Adres","ppe","taryfa","moc umowna","zuzycie energii w kWh "]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe  Kusocińskiego DZ.117,84m.77,71,70/1 ","PL0037330122198020","C11",3,3966]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe ul. Nowowiejska  ","PL0037330123754363","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe Nowosuchostrzycka","PL0037330119177781","C11",10.5,48000]
["Gmina Miejska Tczew","Tczew","Iluminacja Wiatraka","PL0037330047187617","C11",2.6,7200]
["Gmina Miejska Tczew","Tczew","Iluminacja Wieża Ciśnień ","PL0037330047193980","C11",2.5,23100]
["Gmina Miejska Tczew","Tczew","Rokicka DZ.161/3","PL0037330107116843","C11",12.5,50]
["Gmina Miejska Tczew","Tczew","fontanna  Hallera dz. 294/1","PL0037330108881839","C11",5.5,17723.5]
["Gmina Miejska Tczew","Tczew","oświetlenie i zasil imprez Polna","PL0037330047194384","C12B",25,17010]
["Gmina Miejska Tczew","Tczew","przepompownia Chłopska","PL0037330047194485","C11",3,31]
["Gmina Miejska Tczew","Tczew","oświetlenie Park osiedlowy Żwirki DZ.116/4 m.117/2,216","PL0037330123175393","C11",2.5,5400]
["Gmina Miejska Tczew","Tczew","sygnalizacja Franciszka Żwirki","PL0037330047318969","C12W",0.4,2811]
["Gmina Miejska Tczew","Tczew","oświetlenie przy garażach Jagiellońska","PL0037330047194081","C11",1,1781]
["Gmina Miejska Tczew","Tczew","Wojska Polskiego 2","PL0037330107608412","C11",16.5,3873]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Nowo Kolejowa  za tunelem ","PL0037330117306792","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Tczew 83-102","PL0037330117306489","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulic Tczew 83-102 Tczew","PL0037330117306186","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy  Andersena 3","PL0037330117305277","C11",25]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Rokicka 5 ","PL0037330117304772","C11",8]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Kubusia Puchatka","PL0037330117304267","C11",17]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Jagiellońska","PL0037330117303863","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Modrzewskiego","PL0037330117303055","C11",7]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Księżniczki Dobrawy","PL0037330117302651","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Baczyńskiego","PL0037330117302449","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie Pl. Hallera 10","PL0037330117302146","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Kard Wyszyńskiego","PL0037330117301843","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Niepodległości 5350","PL0037330117301641","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Saperska","PL0037330117301338","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Z. Nałkowskiej ","PL0037330117301136","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Topolowa17","PL0037330117289416","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul  Jasińskiego","PL0037330117288305","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew,83-102","PL0037330117287291","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie  ul. Jedności Narodu4","PL0037330117286786","C11",18]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Obrońców Westerplatte","PL0037330117284059","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska 126/A","PL0037330117282645","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Samborówny","PL0037330117282342","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul 30 Stycznia T-5877","PL0037330117281736","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kubusia Puchatka","PL0037330117281433","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bartosza Glowackiego","PL0037330117280726","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117280120","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Al.Zwycięstwa","PL0037330117279110","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu","PL0037330117278100","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Park ","PL0037330117277591","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Mikołaja RejaSO5354","PL0037330117277288","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Janusza Korczaka w T-5516","PL0037330117276581","C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Malinowska","PL0037330117276379","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Przemysłowa","PL0037330117275167","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Armii Krajowej","PL0037330117272238","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Szkoły Morskiej","PL0037330117274662","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Działkowa","PL0037330117274056","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew 91/Polmozbyt","PL0037330117257383","C11",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna","PL0037330117272743","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna","PL0037330117272541","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Kołłątaja","PL0037330117271329","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Saperska","PL0037330117271228","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Armii Krajowej 82/A","PL0037330117270723","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 17","PL0037330117270420","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie  Al.. Zwycięstwa","PL0037330117269612","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł Orkana","PL0037330117269208","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ZEC","PL0037330117268905","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulica Działkowa","PL0037330117269107","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Przemysława II","PL0037330117268400","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Warsztatowa","PL0037330117267790","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Ks Ściegiennego","PL0037330117266679","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zielona","PL0037330117265770","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł.Reymonta","PL0037330117264962","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117262437","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Wielkiego","PL0037330117263144","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Topolowa ","PL0037330117260821","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Wybudowanie","PL0037330117260013","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jodłowa","PL0037330117259104","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowowiejska",null,"C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 12","PL0037330117258090","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ",null,"C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117256373","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka","PL0037330117256070","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jasia i Małgosi","PL0037330117255363","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. B. Głowackiego","PL0037330117253242","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska ","PL0037330117251929","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wąska","PL0037330117251222","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ogrodowa","PL0037330117249808","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zofii Nałkowskiej","PL0037330117248996","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Świętopełka","PL0037330117248087","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Armii Krajowej","PL0037330117247481","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łąkowa","PL0037330117247178","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia","PL0037330117246269","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Wodna w stacji m.5405","PL0037330117245865","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie M.Samborówny w stacji m.5410","PL0037330117245461","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330117245158","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ","PL0037330117244956","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska","PL0037330117243845","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Elżbiety","PL0037330117243340","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bosmańska","PL0037330117243037","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wiślana","PL0037330117242734","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117242128","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ","PL0037330117241724","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowa","PL0037330117241320","C11",20]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Iwaszkiewicza","PL0037330117240613","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Żwirki","PL0037330117240310","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Robotnicza","PL0037330117239805","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Z. Starego","PL0037330117239603","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117239300","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Jurgo","PL0037330117238993","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Korczaka","PL0037330117238589","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Malinowo","PL0037330117238185","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska 56","PL0037330117237579","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja 7","PL0037330117236468","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Polskiego w stacji m. 5611","PL0037330117236165","C11",19]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czyżykowska 113","PL0037330117236064","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117235862","C11",9]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Lipowa","PL0037330117235761","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Konopnickiej","PL0037330117235660","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Słowackiego","PL0037330117235054","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117234751","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Stoczniowców","PL0037330117228283","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Matejki ","PL0037330117227576","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jurgo","PL0037330117267285","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna 25","PL0037330117235559","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Głowackiego HSI w stacji m. 5954","PL0037330117226566","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Pułaskiego","PL0037330117225859","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyczółkowskiego","PL0037330117223536","C12W",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malczewskiego","PL0037330117222829","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna ","PL0037330117222728","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka w stacji m. 5986","PL0037330117222021","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Chrobrego w stacji m.5956","PL0037330117221718","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Norwida w stacji m.5955","PL0037330117220910","C12W",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Traugutta","PL0037330117219694","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska 3 ","PL0037330117218987","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły 4","PL0037330117218381","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Suchostrzygi w stacji m. 5512","PL0037330117217472","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 36","PL0037330117216462","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska Pomorska","PL0037330117215957","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia 4 w stacji m. 5366","PL0037330117215755","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117215048","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Niepodległości 15 ","PL0037330117214341","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska ","PL0037330117212826","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kasztanowa 9","PL0037330117212624","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Andersa","PL0037330117212321","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska","PL0037330116928290","C12W",25.5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kaszubska w stacji m. 5496","PL0037330112717379","C12W",13]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły","PL0037330107256885","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja","PL0037330080020804","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Prosta","PL0037330079197819","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kopernika ","PL0037330076452113","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kwiatowa ","PL0037330076261850","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czatkowska","PL0037330076037033","C12W",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330075694196","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Akacjowa","PL0037330050358911","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Tetmajera","PL0037330050316875","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Spółdzielcza 4","PL0037330047515595","C12W",3]
[]
[]
[{"$nulls":5},615.6,{"v":111124.5,"d":"111,124.50 "}]
[]
["114 szt.","Roczne zużycie energii 111,12 MWh",null,null,"Moc 615,6 kW"]

{"sheet":"Grupa taryfowa C12B","index":2,"n_rows":155,"n_cols":7,"rows_kept":155,"merged":[[154,4,154,5]],"flags":["formulas_cached_only"]}
[null,null,"Adres","ppe","taryfa","moc umowna","zuzycie energii w kWh "]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe  Kusocińskiego DZ.117,84m.77,71,70/1 ","PL0037330122198020","C11",3,3966]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe ul. Nowowiejska  ","PL0037330123754363","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe Nowosuchostrzycka","PL0037330119177781","C11",10.5,48000]
["Gmina Miejska Tczew","Tczew","Iluminacja Wiatraka","PL0037330047187617","C11",2.6,7200]
["Gmina Miejska Tczew","Tczew","Iluminacja Wieża Ciśnień ","PL0037330047193980","C11",2.5,23100]
["Gmina Miejska Tczew","Tczew","Rokicka DZ.161/3","PL0037330107116843","C11",12.5,50]
["Gmina Miejska Tczew","Tczew","fontanna  Hallera dz. 294/1","PL0037330108881839","C11",5.5,17723.5]
["Gmina Miejska Tczew","Tczew","oświetlenie i zasil imprez Polna","PL0037330047194384","C12B",25,17010]
["Gmina Miejska Tczew","Tczew","przepompownia Chłopska","PL0037330047194485","C11",3,31]
["Gmina Miejska Tczew","Tczew","oświetlenie Park osiedlowy Żwirki DZ.116/4 m.117/2,216","PL0037330123175393","C11",2.5,5400]
["Gmina Miejska Tczew","Tczew","sygnalizacja Franciszka Żwirki","PL0037330047318969","C12W",0.4,2811]
["Gmina Miejska Tczew","Tczew","oświetlenie przy garażach Jagiellońska","PL0037330047194081","C11",1,1781]
["Gmina Miejska Tczew","Tczew","Wojska Polskiego 2","PL0037330107608412","C11",16.5,3873]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Nowo Kolejowa  za tunelem ","PL0037330117306792","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Tczew 83-102","PL0037330117306489","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulic Tczew 83-102 Tczew","PL0037330117306186","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy  Andersena 3","PL0037330117305277","C11",25]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Rokicka 5 ","PL0037330117304772","C11",8]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Kubusia Puchatka","PL0037330117304267","C11",17]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Jagiellońska","PL0037330117303863","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Modrzewskiego","PL0037330117303055","C11",7]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Księżniczki Dobrawy","PL0037330117302651","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Baczyńskiego","PL0037330117302449","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie Pl. Hallera 10","PL0037330117302146","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Kard Wyszyńskiego","PL0037330117301843","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Niepodległości 5350","PL0037330117301641","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Saperska","PL0037330117301338","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Z. Nałkowskiej ","PL0037330117301136","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Topolowa17","PL0037330117289416","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul  Jasińskiego","PL0037330117288305","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew,83-102","PL0037330117287291","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie  ul. Jedności Narodu4","PL0037330117286786","C11",18]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Obrońców Westerplatte","PL0037330117284059","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska 126/A","PL0037330117282645","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Samborówny","PL0037330117282342","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul 30 Stycznia T-5877","PL0037330117281736","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kubusia Puchatka","PL0037330117281433","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bartosza Glowackiego","PL0037330117280726","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117280120","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Al.Zwycięstwa","PL0037330117279110","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu","PL0037330117278100","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Park ","PL0037330117277591","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Mikołaja RejaSO5354","PL0037330117277288","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Janusza Korczaka w T-5516","PL0037330117276581","C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Malinowska","PL0037330117276379","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Przemysłowa","PL0037330117275167","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Armii Krajowej","PL0037330117272238","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Szkoły Morskiej","PL0037330117274662","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Działkowa","PL0037330117274056","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew 91/Polmozbyt","PL0037330117257383","C11",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna","PL0037330117272743","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna","PL0037330117272541","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Kołłątaja","PL0037330117271329","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Saperska","PL0037330117271228","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Armii Krajowej 82/A","PL0037330117270723","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 17","PL0037330117270420","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie  Al.. Zwycięstwa","PL0037330117269612","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł Orkana","PL0037330117269208","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ZEC","PL0037330117268905","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulica Działkowa","PL0037330117269107","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Przemysława II","PL0037330117268400","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Warsztatowa","PL0037330117267790","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Ks Ściegiennego","PL0037330117266679","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zielona","PL0037330117265770","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł.Reymonta","PL0037330117264962","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117262437","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Wielkiego","PL0037330117263144","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Topolowa ","PL0037330117260821","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Wybudowanie","PL0037330117260013","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jodłowa","PL0037330117259104","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowowiejska",null,"C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 12","PL0037330117258090","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ",null,"C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117256373","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka","PL0037330117256070","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jasia i Małgosi","PL0037330117255363","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. B. Głowackiego","PL0037330117253242","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska ","PL0037330117251929","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wąska","PL0037330117251222","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ogrodowa","PL0037330117249808","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zofii Nałkowskiej","PL0037330117248996","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Świętopełka","PL0037330117248087","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Armii Krajowej","PL0037330117247481","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łąkowa","PL0037330117247178","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia","PL0037330117246269","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Wodna w stacji m.5405","PL0037330117245865","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie M.Samborówny w stacji m.5410","PL0037330117245461","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330117245158","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ","PL0037330117244956","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska","PL0037330117243845","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Elżbiety","PL0037330117243340","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bosmańska","PL0037330117243037","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wiślana","PL0037330117242734","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117242128","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ","PL0037330117241724","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowa","PL0037330117241320","C11",20]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Iwaszkiewicza","PL0037330117240613","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Żwirki","PL0037330117240310","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Robotnicza","PL0037330117239805","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Z. Starego","PL0037330117239603","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117239300","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Jurgo","PL0037330117238993","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Korczaka","PL0037330117238589","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Malinowo","PL0037330117238185","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska 56","PL0037330117237579","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja 7","PL0037330117236468","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Polskiego w stacji m. 5611","PL0037330117236165","C11",19]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czyżykowska 113","PL0037330117236064","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117235862","C11",9]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Lipowa","PL0037330117235761","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Konopnickiej","PL0037330117235660","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Słowackiego","PL0037330117235054","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117234751","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Stoczniowców","PL0037330117228283","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Matejki ","PL0037330117227576","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jurgo","PL0037330117267285","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna 25","PL0037330117235559","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Głowackiego HSI w stacji m. 5954","PL0037330117226566","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Pułaskiego","PL0037330117225859","C12W","8 Kw"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyczółkowskiego","PL0037330117223536","C12W",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malczewskiego","PL0037330117222829","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna ","PL0037330117222728","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka w stacji m. 5986","PL0037330117222021","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Chrobrego w stacji m.5956","PL0037330117221718","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Norwida w stacji m.5955","PL0037330117220910","C12W",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Traugutta","PL0037330117219694","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska 3 ","PL0037330117218987","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły 4","PL0037330117218381","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Suchostrzygi w stacji m. 5512","PL0037330117217472","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 36","PL0037330117216462","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska Pomorska","PL0037330117215957","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia 4 w stacji m. 5366","PL0037330117215755","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117215048","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Niepodległości 15 ","PL0037330117214341","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska ","PL0037330117212826","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kasztanowa 9","PL0037330117212624","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Andersa","PL0037330117212321","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska","PL0037330116928290","C12W",25.5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kaszubska w stacji m. 5496","PL0037330112717379","C12W",13]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły","PL0037330107256885","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja","PL0037330080020804","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Prosta","PL0037330079197819","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kopernika ","PL0037330076452113","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kwiatowa ","PL0037330076261850","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czatkowska","PL0037330076037033","C12W",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330075694196","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Akacjowa","PL0037330050358911","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Tetmajera","PL0037330050316875","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Spółdzielcza 4","PL0037330047515595","C12W",3]
[{"$nulls":6},"ok. 2600000"]
[]
[]
[]
["1 szt.","Roczne zużycie energii 17MWh",null,null,"Moc 25 kW"]

{"sheet":"Grupa taryfowa C12W","index":3,"n_rows":154,"n_cols":7,"rows_kept":154,"merged":[[153,4,153,5]],"flags":["formulas_cached_only"]}
[null,null,"Adres","ppe","taryfa","moc umowna","zuzycie energii w kWh "]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe  Kusocińskiego DZ.117,84m.77,71,70/1 ","PL0037330122198020","C11",3,3966]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe ul. Nowowiejska  ","PL0037330123754363","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie drogowe Nowosuchostrzycka","PL0037330119177781","C11",10.5,48000]
["Gmina Miejska Tczew","Tczew","Iluminacja Wiatraka","PL0037330047187617","C11",2.6,7200]
["Gmina Miejska Tczew","Tczew","Iluminacja Wieża Ciśnień ","PL0037330047193980","C11",2.5,23100]
["Gmina Miejska Tczew","Tczew","Rokicka DZ.161/3","PL0037330107116843","C11",12.5,50]
["Gmina Miejska Tczew","Tczew","fontanna  Hallera dz. 294/1","PL0037330108881839","C11",5.5,17723.5]
["Gmina Miejska Tczew","Tczew","oświetlenie i zasil imprez Polna","PL0037330047194384","C12B",25,17010]
["Gmina Miejska Tczew","Tczew","przepompownia Chłopska","PL0037330047194485","C11",3,31]
["Gmina Miejska Tczew","Tczew","oświetlenie Park osiedlowy Żwirki DZ.116/4 m.117/2,216","PL0037330123175393","C11",2.5,5400]
["Gmina Miejska Tczew","Tczew","sygnalizacja Franciszka Żwirki","PL0037330047318969","C12W",0.4,2811]
["Gmina Miejska Tczew","Tczew","oświetlenie przy garażach Jagiellońska","PL0037330047194081","C11",1,1781]
["Gmina Miejska Tczew","Tczew","Wojska Polskiego 2","PL0037330107608412","C11",16.5,3873]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Nowo Kolejowa  za tunelem ","PL0037330117306792","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Tczew 83-102","PL0037330117306489","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulic Tczew 83-102 Tczew","PL0037330117306186","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy  Andersena 3","PL0037330117305277","C11",25]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Rokicka 5 ","PL0037330117304772","C11",8]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Kubusia Puchatka","PL0037330117304267","C11",17]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Jagiellońska","PL0037330117303863","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Modrzewskiego","PL0037330117303055","C11",7]
["Gmina Miejska Tczew","Tczew","Oswietlenie ulicy Księżniczki Dobrawy","PL0037330117302651","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Baczyńskiego","PL0037330117302449","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie Pl. Hallera 10","PL0037330117302146","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Kard Wyszyńskiego","PL0037330117301843","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Niepodległości 5350","PL0037330117301641","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Saperska","PL0037330117301338","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Z. Nałkowskiej ","PL0037330117301136","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Topolowa17","PL0037330117289416","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul  Jasińskiego","PL0037330117288305","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew,83-102","PL0037330117287291","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie  ul. Jedności Narodu4","PL0037330117286786","C11",18]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Obrońców Westerplatte","PL0037330117284059","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska 126/A","PL0037330117282645","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Samborówny","PL0037330117282342","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul 30 Stycznia T-5877","PL0037330117281736","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kubusia Puchatka","PL0037330117281433","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bartosza Glowackiego","PL0037330117280726","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117280120","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Al.Zwycięstwa","PL0037330117279110","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu","PL0037330117278100","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie Park ","PL0037330117277591","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Mikołaja RejaSO5354","PL0037330117277288","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Janusza Korczaka w T-5516","PL0037330117276581","C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul Malinowska","PL0037330117276379","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Przemysłowa","PL0037330117275167","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Armii Krajowej","PL0037330117272238","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Szkoły Morskiej","PL0037330117274662","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Działkowa","PL0037330117274056","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Tczew 91/Polmozbyt","PL0037330117257383","C11",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna","PL0037330117272743","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna","PL0037330117272541","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Kołłątaja","PL0037330117271329","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Saperska","PL0037330117271228","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Armii Krajowej 82/A","PL0037330117270723","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 17","PL0037330117270420","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie  Al.. Zwycięstwa","PL0037330117269612","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł Orkana","PL0037330117269208","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ZEC","PL0037330117268905","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulica Działkowa","PL0037330117269107","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie Przemysława II","PL0037330117268400","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Warsztatowa","PL0037330117267790","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ulicy Ks Ściegiennego","PL0037330117266679","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zielona","PL0037330117265770","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wł.Reymonta","PL0037330117264962","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Tetmajera","PL0037330117262437","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kazimierza Wielkiego","PL0037330117263144","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Topolowa ","PL0037330117260821","C11",2]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Wybudowanie","PL0037330117260013","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jodłowa","PL0037330117259104","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowowiejska",null,"C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 12","PL0037330117258090","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ",null,"C11"]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117256373","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka","PL0037330117256070","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jasia i Małgosi","PL0037330117255363","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. B. Głowackiego","PL0037330117253242","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malinowska ","PL0037330117251929","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wąska","PL0037330117251222","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ogrodowa","PL0037330117249808","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Zofii Nałkowskiej","PL0037330117248996","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Świętopełka","PL0037330117248087","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Armii Krajowej","PL0037330117247481","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łąkowa","PL0037330117247178","C11",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia","PL0037330117246269","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul.Wodna w stacji m.5405","PL0037330117245865","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie M.Samborówny w stacji m.5410","PL0037330117245461","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330117245158","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wigury ","PL0037330117244956","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska","PL0037330117243845","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Elżbiety","PL0037330117243340","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Bosmańska","PL0037330117243037","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wiślana","PL0037330117242734","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117242128","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Ceglarska ","PL0037330117241724","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nowa","PL0037330117241320","C11",20]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Iwaszkiewicza","PL0037330117240613","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Żwirki","PL0037330117240310","C11",12]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Robotnicza","PL0037330117239805","C11",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Z. Starego","PL0037330117239603","C11",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Portowców","PL0037330117239300","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Jurgo","PL0037330117238993","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. J. Korczaka","PL0037330117238589","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie Malinowo","PL0037330117238185","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska 56","PL0037330117237579","C11",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja 7","PL0037330117236468","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. W. Polskiego w stacji m. 5611","PL0037330117236165","C11",19]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czyżykowska 113","PL0037330117236064","C11",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Starowiejska","PL0037330117235862","C11",9]
["Gmina Miejska Tczew","Tczew","Oswietlenie ul. Lipowa","PL0037330117235761","C11",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Konopnickiej","PL0037330117235660","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Słowackiego","PL0037330117235054","C11",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117234751","C11",11]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Stoczniowców","PL0037330117228283","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Matejki ","PL0037330117227576","C11",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jurgo","PL0037330117267285","C11",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Łazienna 25","PL0037330117235559","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Głowackiego HSI w stacji m. 5954","PL0037330117226566","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Pułaskiego","PL0037330117225859","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyczółkowskiego","PL0037330117223536","C12W",4]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Malczewskiego","PL0037330117222829","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Nizinna ","PL0037330117222728","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kossaka w stacji m. 5986","PL0037330117222021","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Chrobrego w stacji m.5956","PL0037330117221718","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Norwida w stacji m.5955","PL0037330117220910","C12W",10]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Traugutta","PL0037330117219694","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska 3 ","PL0037330117218987","C12W",8]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły 4","PL0037330117218381","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Suchostrzygi w stacji m. 5512","PL0037330117217472","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jedności Narodu 36","PL0037330117216462","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska Pomorska","PL0037330117215957","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Wyzwolenia 4 w stacji m. 5366","PL0037330117215755","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Broniewskiego","PL0037330117215048","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Niepodległości 15 ","PL0037330117214341","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Gdańska ","PL0037330117212826","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kasztanowa 9","PL0037330117212624","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Andersa","PL0037330117212321","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiellońska","PL0037330116928290","C12W",25.5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kaszubska w stacji m. 5496","PL0037330112717379","C12W",13]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Jagiełły","PL0037330107256885","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kołłątaja","PL0037330080020804","C12W",3]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Prosta","PL0037330079197819","C12W",5]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kopernika ","PL0037330076452113","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Kwiatowa ","PL0037330076261850","C12W",1]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Czatkowska","PL0037330076037033","C12W",9]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. 30 Stycznia ","PL0037330075694196","C12W",7]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Akacjowa","PL0037330050358911","C12W",2]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Tetmajera","PL0037330050316875","C12W",6]
["Gmina Miejska Tczew","Tczew","Oświetlenie ul. Spółdzielcza 4","PL0037330047515595","C12W",3]
[{"$nulls":6},"ok. 2600000"]
[{"$nulls":5},185.9,2811]
[]
["34 szt.","Roczne zużycie energii 2,8 MWh",null,null,"Moc 185,9 kW"]

{"sheet":"Arkusz2","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Arkusz3","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}